## Slide 1: Structural Design and Inspection-Finite Element Method (Beams)
By
Dr. Mahdi Damghani
2021-2022

## Slide 2: Suggested Readings
Reference 1
Reference 3
Reference 2

## Slide 3: Objectives
Familiarisation with equivalent nodal forces;
Familiarisation with global nodal forces;
Familiarisation with effective global nodal forces;
Solving beam problems using Finite Element Analysis having distributed loading between nodes.

## Slide 4: Beam element
The length of element
Node 1 has only 2 DOF (vertical displacement and rotation)
Therefore, this beam element has 4 DOFs in total
Node 2 has only 2 DOF (vertical displacement and rotation)
Local coordinate system with origin at the middle of beam
This slide shows positive direction of shear forces, bending moments, displacements and rotations.

## Slide 5: Example 1
For the cantilever beam subjected to the uniform load w, solve for the right-end vertical displacement and rotation and then for the nodal forces. Assume the beam to have constant EI throughout its length.

## Slide 6: Solution
We begin by discretizing the beam;
Only one element will be used to represent the whole beam;
Next, the distributed load is replaced by its work-equivalent nodal forces.

## Slide 7: Note
Equivalent nodal loading for a distributed loading can be obtained by calculation of fixed end reactions as we saw in slope deflection method;
We have replaced the uniformly distributed load by a statically equivalent force system consisting of a concentrated nodal force and moment at each end of the member carrying the distributed load;
These statically equivalent forces are always of opposite sign from the fixed-end reactions.

## Slide 8: Note
If we want to analyse the behaviour of loaded member 2–3 in better detail, we can place a node at mid-span;
Use the same procedure just described for each of the two elements representing the horizontal member.

## Slide 9: Note

## Slide 10: Solution
Local and global axis are coincident.
Reduced stiffness matrix

## Slide 11: Solution
Negative sign for displacement means it is downward;
Negative sign for rotation means it is clockwise;
Remind yourselves of positive sign conventions.

## Slide 12: Solution
In order to obtain reaction at the support it is essential to find global nodal forces;
For convenience let’s denote Kd=F(e);
F(e) are called the effective global nodal forces;

## Slide 13: Note
Note that when there are distributed loading between nodes, the general relationship between forces and stiffness are obtained from;
Concentrated nodal forces
Equivalent nodal forces

## Slide 14: Solution
Positive shear means upward
Positive moment means counter-clockwise

## Slide 15: General flowchart of steps
Replace distributed loads by its equivalent nodal forces
Assemble GLOBAL stiffness matrix
Apply BCs to obtain reduced stiffness matrix
Solve for unknown displacements & rotations
Obtain GLOBAL nodal forces

## Slide 16: Example 2
For the cantilever beam subjected to the concentrated free-end load P and the uniformly distributed load w acting over the whole beam as, determine the free-end displacements and the nodal forces.

## Slide 17: Solution

## Slide 18: Solution
Effective global nodal forces;
Correct nodal forces (global nodal forces);

## Slide 19: Example 3
See the uploaded excel file called “BeamProblems.xlsx”

## Slide 20: Solution

## Slide 21: Solution

## Slide 22: Solution

## Slide 23: Solution

## Slide 24: Solution